ADVISORY COMMITTEE MINUTES

| Date: |  |
| --- | --- |
| Time: |  |
| Location: |  |

| In attendance: |  |
| --- | --- |

| Subject: |  | NATEF Program Status |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Discussion: |  | Smith explained new NATEF standards and certification classifications. Program will not need to be recertified until 2013 and will certify under new standards. Cascade will certify for 1st two levels (MLR, Service Tech). |  |  |  |  |  |
| Action/Proposal: |  |  |  | Smith will follow up in the fall and begin the recert process. |  |  |  |
| Subject: |  | Annual Shop Safety Inspection |  |  |  |  |  |
| Discussion: |  | Advisory Committee performed the annual inspection |  |  |  |  |  |
| Areas of concern were: Flammable cabinet door open Fuse panel door open No face shield my brake lathe Carbon Dioxide detectors Electrical connector for bench grinder deteriorated |  |  |  |  |  |  |  |
| Action/Proposal: |  |  |  | Flammable cabinet - closed door Fuse Panel - Smith repaired door and it closes now No Shield by Brake Lathe - Smith will order another one in the fall Carbon Dioxide Detectors - Smith will follow up with facilities Electrical Connector - Smith will follow up with facilities |  |  |  |
| Subject: |  |  |  |  |  |  |  |
| Discussion: |  |  |  |  |  |  |  |
| Action/Proposal: |  |  |  |  |  |  |  |
| Agenda Items for Next Meeting: |  |  |  |  |  |  |  |
| Agenda and meeting dates will be set at kick off in the fall. |  |  |  |  |  |  |  |
| Next Meeting Date: |  |  |  |  |  |  |  |
| Time: |  |  |  |  |  |  |  |
| Location: |  |  |  |  |  |  |  |
| Meeting Adjourned (time) |  |  |  |  |  | 7:00 PM |  |