2006 Bond/Levy Detail by School           DRAFT 11/16/05

| School/Facility | Proposed 2006 Bond Measure | Comments on proposed 2006 bond projects | 2002 Bond Projects |
| --- | --- | --- | --- |
| Cascade High | Replace roof at auto shop, Upgrade (replace) grease trap at kitchen |  |  |
| Everett High | Modernization of gymnasium building, Seismic upgrades to cafeteria building, commercial building and little theater, Upgrade HVAC system at little theater, Add standby (emergency) electrical generators at 5 buildings, Upgrade (replace) grease trap at kitchen | The Everett HS Gymnasium was built in 1969, and the work proposed will include modernization and/or replacement of major building systems including heating, ventilation, electrical, plumbing, and finishes. The project will focus on learning needs, flexible spaces, community use and technology. | Flooring replacement in commercial building, Parking lot expansion – Phase I & II |
| H.M. Jackson High | Upgrade windows, Upgrade (replace) grease trap at kitchen |  | Addition of 12 classrooms |
| Sequoia High |  |  |  |
| Eisenhower Middle |  |  | School modernization and property purchase |
| Evergreen Middle |  |  |  |
| Gateway Middle | Replace cafeteria floor |  | Addition of eight classrooms |
| Heatherwood Middle | Upgrade (replace) portion of covered walkway |  |  |
| North Middle | Add auxiliary gym and site improvements, Upgrade (replace) grease trap at kitchen | A gym addition will help North MS become an equitable athletic and PE facility for students, and make their gym facilities comparable to the 4 other middle schools in the district. | Replaced roof, Mechanical System Upgrade |
| Cedar Wood Elementary | Upgrade HVAC system, Add standby (emergency) electrical generator |  |  |
| Emerson Elementary |  |  | School modernization |
| Garfield Elementary | Full modernization | Garfield ES was built in 1946. Modernization and/or replacement of major building systems including heating, ventilation, electrical, plumbing, roofing, finishes. The structure will be strengthened to better withstand earthquakes. The project will focus on learning needs, flexible spaces, community use and technology. | Flooring replacement, Lighting system upgrade |
| Hawthorne Elementary | Seismic upgrades, Replace roof, Upgrade (replace) grease trap at kitchen |  |  |
| Jackson Elementary | Upgrade (replace) cooler and freezer in kitchen |  |  |
| Jefferson Elementary | Full modernization, Provide new sanitary sewer service connection | Jefferson ES was built in 1964. Modernization and/or replacement of major building systems including heating, ventilation, electrical, plumbing, finishes. The project will focus on learning needs, flexible spaces, community use and technology. | Replaced roof |
| Lowell Elementary | Add standby (emergency) electrical generator, Upgrade (replace) grease trap at kitchen |  |  |
| Madison Elementary | Add standby (emergency) electrical generator, Upgrade (replace) grease trap at kitchen |  |  |
| Mill Creek Elementary | Upgrade HVAC system Add standby (emergency) electrical generator |  |  |
| James Monroe Elementary | Full modernization | James Monroe ES was built in 1969. Modernization and/or replacement of major building systems including electrical, plumbing, roofing, finishes. The structure will be strengthened to better withstand earthquakes. The project will focus on learning needs, flexible spaces, community use and technology. | Mechanical system upgrade, Flooring replacement, Lighting system upgrade |
| Penny Creek Elementary |  |  | Addition of six classrooms |
| Silver Firs Elementary | Upgrade HVAC system, Add standby (emergency) electrical generator, Upgrade (replace) cooler and freezer in kitchen |  |  |
| Silver Lake Elementary | Partial modernization | Many of the buildings at Silver Lake ES were built in the 1950’s and 1960’s. Modernization and/or replacement of major building systems including heating, ventilation, electrical, plumbing, roofing, finishes. The project will focus on learning needs, flexible spaces, community use and technology. | Flooring replacement, Lighting system upgrade, Property purchase for parking lot improvement |
| View Ridge Elementary | Full modernization and parking lot improvements | View Ridge ES was built in 1954. Modernization and/or replacement of major building systems including electrical, plumbing, roofing, finishes. The project will focus on learning needs, flexible spaces, community use and technology. | Mechanical system upgrade, Flooring replacement, Lighting system upgrade |
| Whittier Elementary | Partial modernization | Many of the buildings at Whittier ES were built in the 1940’s and 1950’s. Modernization and/or replacement of major building systems including heating, ventilation, electrical, plumbing, roofing, finishes. The structure will be strengthened to better withstand earthquakes. The project will focus on learning needs, flexible spaces, community use and technology. | Flooring replacement, Lighting system upgrade |
| Woodside Elementary | Replace gym floor |  | Replaced roof, Mechanical system upgrade |
| Elementary School 17 | Build new elementary school | A new elementary school will address overcrowding in south end schools |  |
| Property acquisition | Purchase properties for future middle school and elementary school. | Purchasing property saves taxpayer money. Based on population projections, these new sites will be needed as current sites become overcrowded. | Property purchase for new bus facility |
| Other improvements | District-wide Technology: Upgrade technology operations systems and building network infrastructure, and upgrade (replace) computers, printers and classroom presentation stations, emergency communication system; Renovate restrooms and replace upper level seating at Memorial Stadium |  | Technology equipment and upgrades including student and staff computers, classroom presentation stations, telephone system upgrades (w/emergency 911 capability), network infrastructure upgrades and staff training; Security and fire alarm system upgrades, Rekeying |